## EEPROM_MEM_MAP_PS
Range
Group | No. of IDs used in each prog-sequence | No. of Program | Total ID required | Min | max | 2 | 3 | 4 | 5 | 6 | [5 empty] | 1 | 7 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
P-1 | 1 | 21 | 21 | 00 | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
P-2 | 2 | 20 | 40 | 15 | 3C | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
P-3 | 3 | 25 | 75 | 3D | 87 | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
P-4 | 4 | 20 | 80 | 88 | D7 | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
P-5 | 5 | 6 | 30 | D8 | F5 | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Total | 246
| Observation IDs reserved for debugging purpose | Any | 10 | F6 | FF | F7 | F8 | F9 | FA | FB | [5 empty] | 1: F6; 7: FC; 9: FE; 10: FF
[6 empty] | for infinite loop | [9 empty] | 1: long wait
C3 to C7 cells are user configurable; Do not touch other cells;
Columns 1 to 40 (G to AT) are the first Observation ID to be used in the program sequence for given range (i.e. no of IDs per program)
Cells in RED, are not valid
| ** Information in this sheet shall not be applicable for all flare related activities (Detection / false trigger, etc) | [9 empty] | Time unit = Hours
**Gib = bits/(1024^3)
Ver.
Calibration Modes
Seq. No. | Sequence Name | Size allocated | Start Address | Start Address | Size (in bytes) | Observation IDs |  |  |  |  | CheckSUM | Initial Cal. Time (in hours) | Initial Cal data Size (Gib) | One Cycle Duration (hrs.) | Data Size (in Gib) for One Cycle | 1: Type
|  | Bytes | EEPROM (DEC)
1 | Boot_Code | 256 | 32768 | 8000 | 243 | (00) and F6 | [5 empty] | 1.7014 | 16.9215 | 0 | 0 | 1: Cal; 7: v9
2 | Gain_Offset_Cal | 128 | 33024 | 8100 | 110 | (05) and F7 | [5 empty] | 0.075839 | 1.562 | 0 | 0 | 1: Cal; 7: v9
3 | LED_Calibration | 256 | 33152 | 8180 | 208 | (01) and F7 | [5 empty] | 0.12533 | 2.6033 | 0 | 0 | 1: Cal; 7: v9
4 | Stellar_Sirius | 512 | 33408 | 8280 | 239 | (04) and F7 | [5 empty] | 2.2916 | 4.0351 | 0 | 0 | 1: Cal; 7: v9
5 | Synoptic_4Output_100Gb | 1024 | 33920 | 8480 | 995 | (96,97,98,99) | [5 empty] | 0.071204 | 0.52066 | 1.8447 | 7.5306 | 1: Science; 7: v9
6 | Synoptic_4Output_94Gb | 1024 | 34944 | 8880 | 995 | (9A,9B,9C,9D) | [5 empty] | 0.071204 | 0.52066 | 2.6626 | 10.2963 | 1: Science; 7: v9
7 | Synoptic_2Output_99Gb | 1088 | 35968 | 8C80 | 1020 | (9E,9F,A0,A1) | [5 empty] | 0.089618 | 0.52066 | 0.78497 | 3.1785 | 1: Science; 7: v9
8 | Synoptic_1Output_72Gb | 1216 | 37056 | 90C0 | 1167 | (A2,A3,A4,A5) | [5 empty] | 0.12645 | 0.52066 | 0.93181 | 2.7342 | 1: Science; 7: v9
9 | Synoptic_2Output_92Gb | 1088 | 38272 | 9580 | 1020 | (A6,A7,A8,A9) | [5 empty] | 0.089618 | 0.52066 | 0.92126 | 3.5158 | 1: Science; 7: v9
10 | Synoptic_1Output_60Gb | 1216 | 39360 | 99C0 | 1167 | (AA,AB,AC,AD) | [5 empty] | 0.089618 | 0.52066 | 1.5181 | 3.6785 | 1: Science; 7: v9
11 | Synoptic_99Gb_2K | 960 | 40576 | 9E80 | 912 | (AE,AF,B0,B1) | [5 empty] | 0.071204 | 0.52066 | 0.54472 | 2.2372 | 1: Science; 7: v9
12 | Synoptic_87Gb_2K | 960 | 41536 | A240 | 912 | (B2,B3,B4,B5) | [5 empty] | 0.071204 | 0.52066 | 2.0011 | 7.1615 | 1: Science; 7: v9
13 | Synoptic_84Gb_2K | 960 | 42496 | A600 | 912 | (B6,B7,B8,B9) | [5 empty] | 0.071204 | 0.52066 | 3.9962 | 13.907 | 1: Science; 7: v9
14 | fail_safe_NB4_100Gb | 832 | 43456 | A9C0 | 792 | (BA,BB,BC,BD) | [5 empty] | 0.071204 | 0.52066 | 5.1602 | 24.7992 | 1: Science; 7: v9
15 | fail_safe_NB8_97Gb | 128 | 44288 | AD00 | 97 | (15,16) | [5 empty] | 0.071204 | 0.52066 | 0.70488 | 2.8235 | 1: Science; 7: v9
16 | fail_safe_1400Exp_97Gb | 128 | 44416 | AD80 | 93 | (17,18) | [5 empty] | 0.071204 | 0.52066 | 0.70488 | 2.8235 | 1: Science; 7: v9
17 | Full_Disk_Campaign_100Gb | 896 | 44544 | AE00 | 862 | (65,66,67) and F7 | [5 empty] | 0 | 0 | 0.38589 | 7.094 | 1: Science; 7: v9
18 | Deep_Sky_Mode | 384 | 45440 | B180 | 358 | (06) | [5 empty] | 0.75066 | 3.124 | 0 | 0 | 1: Cal; 7: v9
19 | Focus_Adjust | 448 | 45824 | B300 | 408 | (02) and F7 | [5 empty] | 2.5823 | 57.2727 | 0 | 0 | 1: Cal; 7: v9
20 | Shutter_Calibration | 896 | 46272 | B4C0 | 856 | (03) and F7 | [5 empty] | 0.33714 | 0.27931 | 0 | 0 | 1: Cal; 7: v9
21 | Irradiance_Mode_100Gb | 832 | 47168 | B840 | 783 | (68,69,6A) | [5 empty] | 0.071204 | 0.52066 | 1.8447 | 7.5306 | 1: Science; 7: v9
22 | Mg2_Ca2_FD_100Gb | 640 | 48000 | BB80 | 582 | (6B,6C,6D) and F7 | [5 empty] | 0 | 0 | 0.039498 | 0.71591 | 1: Science; 7: v9
23 | Mg2_Index_FD_100Gb | 576 | 48640 | BE00 | 558 | (6E,6F,70) and F7 | [5 empty] | 0 | 0 | 0.030641 | 0.58574 | 1: Science; 7: v9
24 | Photos_FD_100Gb | 576 | 49216 | C040 | 498 | (71,72,73) and F7 | [5 empty] | 0 | 0 | 0.017248 | 0.29287 | 1: Science; 7: v9
25 | Single_Filter_FD_100Gb | 512 | 49792 | C280 | 479 | (74,75,76) and F7 | [5 empty] | 0 | 0 | 0.012365 | 0.16271 | 1: Science; 7: v9
26 | Mg2_Ca2_ROI | 576 | 50304 | C480 | 549 | (77,78,79) and F7 | [5 empty] | 0 | 0 | 0.014918 | 0.054363 | 1: Science; 7: v9
27 | Mg2_Index_ROI_25Gb | 576 | 50880 | C6C0 | 533 | (7A,7B,7C) and F7 | [5 empty] | 0 | 0 | 0.010966 | 0.049999 | 1: Science; 7: v9
28 | Photos_ROI_30Gb | 576 | 51456 | C900 | 500 | (7D,7E,7F) and F7 | [5 empty] | 0 | 0 | 0.0093019 | 0.04127 | 1: Science; 7: v9
29 | Single_Filter_ROI_36Gb | 512 | 52032 | CB40 | 481 | (80,81,82) and F7 | [5 empty] | 0 | 0 | 0.0084486 | 0.036906 | 1: Science; 7: v9
30 | Coupling_ROI_43Gb | 896 | 52544 | CD40 | 872 | (83,84,85) and F7 | [5 empty] | 0 | 0 | 0.58142 | 3.5568 | 1: Science; 7: v9
31 | Rev_Gran_ROI_44Gb | 896 | 53440 | D0C0 | 856 | (86,87,88) and F7 | [5 empty] | 0 | 0 | 0.62445 | 3.658 | 1: Science; 7: v9
32 | Cal_Dark_Bias | 128 | 54336 | D440 | 50 | (07) and F7 | [5 empty] | 0.071206 | 0.52066 | 0 | 0 | 1: Cal; 7: v9
33 | All_Filter_FD_Cal | 256 | 54464 | D4C0 | 206 | (08) and F7 | [5 empty] | 0.12072 | 2.8636 | 0 | 0 | 1: Cal; 7: v9
34 | Spare1 | 128 | 54720 | D5C0
35 | Spare2 | 1024 | 54848 | D640
36 | Spare3 | 704 | 55872 | DA40
37 | Spare4 | 512 | 56576 | DD00
38 | Spare5 | 128 | 57088 | DF00
39 | Spare6 | 128 | 57216 | DF80
40 |  |  | 57344 | E000
41 | [5 empty] | (09) and F7 (Use this for First program after power on to home FW | [9 empty] | 1: Not part of EEPROM
42 | bar: 1
43 | bar: 1
44 | bar: 1

## Frame Types (hidden)
Frame types | Values in Hex
BIAS (door closed) | 0XF
BIAS (door open) | 0XE
DARK (door open) | 0XD
DARK (door closed) | 0XC
LED image (255nm) | 0XB
LED image (355nm) | 0XA
Engineering mode (not decided) | 0X9
Engineering mode (not decided) | 0X8
Engineering mode (not decided) | 0X7
Engineering mode (not decided) | 0X6
Shutter calibration | 0X5
Focus adjustment | 0X4
OFF Pointing / Deep-sky | 0X3
Engineering mode (not decided) | 0X2
Stellar calibration | 0X1
NORMAL | 0X0